## 1호기
GEN |  |  |  |  | TRUBINE
Group | ObjectName | 1차 조기경보 대상여부 | 학습여부 | Threshold수정 | Group | ObjectName | 1차 조기경보 대상여부 | 학습여부 | Threshold수정
TEMP | 3370-01-AI086 | THRUST BEARING METAL TEMP-1 |  |  | OIL | 3370-01-AI024 | GUIDE BEARING OIL PRESS
| 3370-01-AI087 | THRUST BEARING METAL TEMP-2 |  |  |  | 3370-01-AI025 | TBN GUIDE BEARING OIL PRESS
| 3370-01-AI088 | THRUST BEARING METAL TEMP-3 |  |  |  | 3370-01-AI026 | GUIDE BEARING OIL PRESS
| 3370-01-AI089 | THRUST BEARING METAL TEMP-4 |  |  |  | 3370-01-AI027 | GUIDE BEARING OIL PRESS PUMP
| 3370-01-AI090 | THRUST BEARING METAL TEMP-5 |  |  |  | 3370-01-AI028 | GUIDE BEARING OIL PRESS PUMP
| 3370-01-AI091 | CBIN JRNL&THR BRG METAL TEMP-1 |  |  |  | 3370-01-AI029 | GUIDE BEARING OIL PRESS PUMP |  |  | Group | tag_count | Group | tag_count | Group | tag_count | Group | tag_count | Group | tag_count | Group | tag_count
| 3370-01-AI092 | CBIN JRNL&THR BRG METAL TEMP-2 |  |  |  | 3370-01-AI078-1 | GUIDE BRG OIL IN/OUT OIL TEMP |  |  | TEMP | 23 | OIL | 9 | PRESS1 | 7 | PRESS1 | 3 | Flow | 3 | Press | 6
| 3370-01-AI093 | CBIN JRNL&THR BRG METAL TEMP-3 |  |  |  | 3370-01-AI079 | GUIDE BRG OIL OUT/IN OIL TEMP |  |  | CORE | 22 | TEMP | 5 | PRESS2 | 3 | PRESS2 | 8 | Press | 10 | Moter | 4
| 3370-01-AI094 | CBIN JRNL&THR BRG METAL TEMP-4 |  |  |  | 3370-01-DTGATE-AI002 | #1 D/T GATE HYDRAULIC OIL TEMP. |  |  | WIND | 19 | BRG1 | 5 | TEMP | 5 | PRESS3 | 4 | Temp | 2 | 2 | 10
| 3370-01-AI095 | CBIN JRNL&THR BRG METAL TEMP-5 |  |  | TEMP | 3370-01-AI081 | GUIDE BEARING METAL TEMP-1 |  |  | FLOW | 3 | BRG2 | 3 | RING FLOW | 6 | TEMP | 3 | 3 | 15
| 3370-01-GEN-AI039 | UPPER GUIDE PAD TEMP |  |  |  | 3370-01-AI082 | GUIDE BEARING METAL TEMP-2 |  |  | AIRGAP | 5 | PRESS1 | 8 | 4 | 21 | 4 | 18
| 3370-01-GEN-AI040 | UPPER GUIDE PAD TEMP |  |  |  | 3370-01-AI083 | GUIDE BEARING METAL TEMP-3 |  |  | ROTOR | 7 | PRESS2 | 5
| 3370-01-GEN-AI041 | UPPER GUIDE PAD TEMP |  |  |  | 3370-01-AI084 | GUIDE BEARING METAL TEMP-5 |  |  | THRUST | 2 | AIR PRESS | 3
| 3370-01-GEN-AI042 | UPPER GUIDE PAD TEMP |  |  |  | 3370-01-AI085 | GUIDE BEARING METAL TEMP-6 |  |  | ACC | 6 | FLOW | 6
| 3370-01-GEN-AI043 | UPPER GUIDE PAD TEMP |  |  | BRG1 | 3370-01-HEADCOVER-ACC-H1 | #1 HEAD COVER ACC H1 |  |  | BRG | 4 | RING TEMP | 2
| 3370-01-GEN-AI044 | UPPER GUIDE PAD TEMP |  |  |  | 3370-01-HEADCOVER-ACC-H2 | #1 HEAD COVER ACC H2 |  |  | PRESS | 4 | GOV TEMP | 3
| 3370-01-GEN-AI045 | UPPER GUIDE PAD TEMP |  |  |  | 3370-01-HEADCOVER-ACC-V | #1 HEAD COVER ACC V |  |  | 10 | 95 | MIV | 5
| 3370-01-GEN-AI046 | UPPER GUIDE PAD TEMP |  |  |  | 3370-01-TBN-BRG-ACC-H | #1 TBN BRG ACC H |  |  |  |  | 11 | 54
| 3370-01-GEN-AI047 | UPPER GUIDE BEARING OIL TEMP |  |  |  | 3370-01-TBN-BRG-ACC-V | #1 TBN BRG ACC V
| 3370-01-GEN-AI048 | UPPER GUIDE BEARING OIL TEMP |  |  | BRG2 | 3370-01-TBNBRG-VIB-X | #1 TBN BRG VIB-X
| 3370-01-AI212 | UPPERGUIDE INLET COLD WTR TEMP |  |  |  | 3370-01-TBNBRG-VIB-Y | #1 TBN BRG VIB-Y
| 3370-01-AI213 | UPPERGUIDE OUTLET HOT WTR TEMP |  |  |  | 3370-01-CAVITATION | #1 CAVITATION
| 3370-01-AI214 | THR BRG COOLING WTR TEMP |  |  | PRESS1 | 3370-01-AI077 | PRESSS IN RUNNER & HEAD COVER
CORE | 3370-01-AI210 | STATOR MAIN OUTLET WTR TEMP |  |  |  | 3370-01-AI078 | PRESSS IN RUNNER & HEAD COVER
| 3370-01-AI211 | STATOR MAIN INLET WTR TEMP |  |  |  | 3370-01-EBB09 | PRESS RUNNER WITH WICKET GATE
| 3370-01-GEN-AI019 | STATOR CORE TEMP |  |  |  | 3370-01-AI111 | SPIRAL CASE PRESS -1
| 3370-01-GEN-AI020 | STATOR CORE TEMP |  |  |  | 3370-01-AI112 | SPIRAL CASE PRESS -2
| 3370-01-GEN-AI021 | STATOR CORE TEMP |  |  |  | 3370-01-AI151 | SPIRAL CASE PRESSS
| 3370-01-GEN-AI022 | STATOR CORE TEMP |  |  |  | 3370-01-AI152 | PRESSS IN RUNNER & HEAD COVER
| 3370-01-GEN-AI023 | STATOR CORE TEMP |  |  |  | 3370-01-AI157 | PRESS IN RUNNER & WICKETGATES
| 3370-01-GEN-AI024 | STATOR CORE TEMP |  |  | PRESS2 | 3370-01-AI156 | PRESS IN RUNNER & DISCH RING
| 3370-01-GEN-AI025 | STATOR CORE TEMP |  |  |  | 3370-01-EBB08 | PRESS RUNNER WITH DISCH RING
| 3370-01-GEN-AI026 | STATOR CORE TEMP |  |  |  | 3370-01-AI109 | PENSTOCK PRESS-1
| 3370-01-GEN-AI027 | STATOR HOT AIR TEMP |  |  |  | 3370-01-AI110 | PENSTOCK PRESS-2
| 3370-01-GEN-AI028 | STATOR HOT AIR TEMP |  |  |  | 3370-01-AI153 | PRESSS OF DRAFT TUBE
| 3370-01-GEN-AI029 | STATOR HOT AIR TEMP |  |  | AIR PRESS | 3370-01-COMP-AI001 | #1 DEWATERING AIR PR.-1
| 3370-01-GEN-AI030 | STATOR HOT AIR TEMP |  |  |  | 3370-01-COMP-AI002 | #1 DEWATERING AIR PR.-2
| 3370-01-GEN-AI031 | STATOR HOT AIR TEMP |  |  |  | 3370-01-COMP-AI003 | #1 DEWATERING AIR PR.-3
| 3370-01-GEN-AI032 | STATOR HOT AIR TEMP |  |  | FLOW | 3370-01-EA0244 | TBN WTR FLOW IN PUMP
| 3370-01-GEN-AI033 | STATOR COLD AIR TEMP |  |  |  | 3370-01-EA0245 | TBN WTR FLOW IN GEN.
| 3370-01-GEN-AI034 | STATOR COLD AIR TEMP |  |  |  | 3370-01-AI207 | GUIDE BEARING COOLING WTR FLOW
| 3370-01-GEN-AI035 | STATOR COLD AIR TEMP |  |  |  | 3370-01-AI209 | GOV COOLER FLOW
| 3370-01-GEN-AI036 | STATOR COLD AIR TEMP |  |  |  | 3370-01-GOV-AI006 | #1 UNIT SPEED
| 3370-01-GEN-AI037 | STATOR COLD AIR TEMP |  |  |  | 3370-01-GOV-AO001 | #1 SPIRAL CASE PRESSURE to GOV
| 3370-01-GEN-AI038 | STATOR COLD AIR TEMP |  |  | RING TEMP | 3370-01-TBN-AI058 | UPPER WEARING RING TEMP
WIND | 3370-01-GEN-AI001 | STATOR WINDING TEMP |  |  |  | 3370-01-TBN-AI059 | LOWER WEARING RING TEMP
| 3370-01-GEN-AI002 | STATOR WINDING TEMP |  |  | GOV TEMP | 3370-01-AI216 | GOV COOLER WATER TEMP
| 3370-01-GEN-AI003 | STATOR WINDING TEMP |  |  |  | 3370-01-AI217 | GOV COOLER OUTLET TEMP
| 3370-01-GEN-AI004 | STATOR WINDING TEMP |  |  |  | 3370-01-AI215 | GUIDE COOLING WTR TEMP
| 3370-01-GEN-AI005 | STATOR WINDING TEMP |  |  | MIV | 3370-01-AI105 | MI/V UPSTREAM SEAL PRESS
| 3370-01-GEN-AI005-1 | STATOR WINDING TEMP |  |  |  | 3370-01-AI106 | MI/V UPSTREAM SEAL PRESS
| 3370-01-GEN-AI006 | STATOR WINDING TEMP |  |  |  | 3370-01-AI107 | MI/V DOWNSTREAM SEAL PRESS
| 3370-01-GEN-AI007 | STATOR WINDING TEMP |  |  |  | 3370-01-AI108 | MI/V DOWNSTREAM SEAL PRESS
| 3370-01-GEN-AI008 | STATOR WINDING TEMP |  |  |  | 3370-01-AI146 | MIV D.STREAM SEAL FLR DIF PRES
| 3370-01-GEN-AI009 | STATOR WINDING TEMP |  |  | 11 | 54
| 3370-01-GEN-AI010 | STATOR WINDING TEMP
| 3370-01-GEN-AI011 | STATOR WINDING TEMP |  |  | SHAFT SEAL
| 3370-01-GEN-AI012 | STATOR WINDING TEMP |  |  | Group | ObjectName | 1차 조기경보 대상여부 | 학습여부 | Threshold수정
| 3370-01-GEN-AI013 | STATOR WINDING TEMP |  |  | PRESS1 | 3370-01-AI030 | INFLATAB MAINTAIN SEAL PRESS-1
| 3370-01-GEN-AI014 | STATOR WINDING TEMP |  |  |  | 3370-01-AI031 | INFLATAB MAINTAIN SEAL PRESS-2
| 3370-01-GEN-AI015 | STATOR WINDING TEMP |  |  |  | 3370-01-AI035 | TURBINE SHAFT SEAL PRESS -1
| 3370-01-GEN-AI016 | STATOR WINDING TEMP |  |  |  | 3370-01-AI036 | TURBINE SHAFT SEAL PRESS -2
| 3370-01-GEN-AI017 | STATOR WINDING TEMP |  |  |  | 3370-01-AI037 | TURBINE SHAFT SEAL PRESS -3
| 3370-01-GEN-AI018 | STATOR WINDING TEMP |  |  |  | 3370-01-AI145 | TURBINE SHAFT SEAL WATER FLOW
FLOW | 3370-01-AI205 | GEN AIR COOLER COOL WTR FLOW |  |  |  | 3370-01-PT-SHAFTSEAL-LCP-AI01 | #1 P/T SHAFT-S WTR SPLY PP INLET PR.
| 3370-01-AI206 | UPPERGUIDE BEARING COOLER FLOW |  |  | PRESS2 | 3370-01-AI067 | SHAFT SEAL PUMP DISCH PRESS
| 3370-01-AI208 | L.GUIDE & T.BRG COOL WTR FLOW |  |  |  | 3370-01-AI067-2 | #1 P/T SHAFT-S FLR OUTLET PR.
AIRGAP | 3370-01-AIRGAP-A | #1 AIRGAP A |  |  |  | 3370-01-AI056 | SHAFT SEAL FILTER PRESS
| 3370-01-AIRGAP-C | #1 AIRGAP C |  |  | TEMP | 3370-01-AI060 | TURBINE SHAFT SEAL. TEMP-1
| 3370-01-AIRGAP-D | #1 AIRGAP D |  |  |  | 3370-01-AI060-1 | SHAFT SEAL TEMP DIFF
| 3370-01-AIRGAP-F | #1 AIRGAP F |  |  |  | 3370-01-AI061 | TURBINE SHAFT SEAL. TEMP-2
| 3370-01-AIRGAP-H | #1 AIRGAP H |  |  |  | 3370-01-AI061-1 | #1 P/T SHAFT-S WTR TEMP.
ROTOR | 3370-01-EAB72 | ROTOR TEMP |  |  |  | 3370-01-AI062 | TURBINE SHAFT SEAL. TEMP-3
| 3370-01-EAB73 | ACTUAL POWER FACTOR |  |  | RING FLOW | 3370-01-AI041 | UPPER WEARING RING WTR FLOW-1
| 3370-01-GEN-AI049 | EXCIT ROTOR TEMP |  |  |  | 3370-01-AI042 | UPPER WEARING RING WTR FLOW-2
| 3370-01-GEN-AI050 | EXCIT POWER FACTOR |  |  |  | 3370-01-AI043 | UPPER WEARING RING WTR FLOW-3
| 3370-01-GEN-AI051 | EXCIT TRANSFORMER TEMP-T501 |  |  |  | 3370-01-AI044 | LOWER WEARING RING WTR FLOW-1
| 3370-01-GEN-AI052 | EXCIT TRANSFORMER TEMP-T502 |  |  |  | 3370-01-AI045 | LOWER WEARING RING WTR FLOW-2
| 3370-01-GEN-AI053 | EXCIT TRANSFORMER TEMP-T503 |  |  |  | 3370-01-AI046 | LOWER WEARING RING WTR FLOW-3
THRUST | 3370-01-THRUST-A | #1 THRUST A |  |  | 4 | 21
| 3370-01-THRUST-B | #1 THRUST B
ACC | 3370-01-THRUST-BRG-ACC-H1 | #1 THRUST BRG ACC H1 |  |  | GOVOIL
| 3370-01-THRUST-BRG-ACC-H2 | #1 THRUST BRG ACC H2 |  |  | Group | ObjectName | 1차 조기경보 대상여부 | 학습여부 | Threshold수정
| 3370-01-THRUST-BRG-ACC-V | #1 THRUST BRG ACC V |  |  | PRESS1 | 3370-01-AI001 | MAIN OIL CIRCUIT PRESS-1
| 3370-01-UPGENBRG-ACC-H | #1 UPGEN BRG ACC H |  |  |  | 3370-01-AI002 | MAIN OIL CIRCUIT PRESS-2
| 3370-01-UPGENBRG-ACC-V | #1 UPGEN BRG ACC V |  |  |  | 3370-01-AI003 | MAIN OIL CIRCUIT PRESS-3
| 3370-01-KEYPHASOR | #1 KEYPHASOR |  |  | PRESS2 | 3370-01-AI007 | GOV OIL/AIR TK OIL PR - 1
BRG | 3370-01-THRUSTBRG-VIB-X | #1 THRUST BRG VIB-X |  |  |  | 3370-01-AI008 | GOV OIL/AIR TK OIL PR GRE104MP
| 3370-01-THRUSTBRG-VIB-Y | #1 THRUST BRG VIB-Y |  |  |  | 3370-01-AI009 | GOV OIL/AIR TK OIL PR GRE105MP
| 3370-01-UPGENBRG-VIB-X | #1 UPPER GEN BRG VIB-X |  |  |  | 3370-01-AI013 | MIV OIL/AIR PR TK OIL PRESS 1
| 3370-01-UPGENBRG-VIB-Y | #1 UPPER GEN BRG VIB-Y |  |  |  | 3370-01-AI014 | MIV O/A PRESS TANK OIL PRESS2
PRESS | 3370-01-AI141 | GOV PUMP1 DISCHARGE PRESS |  |  |  | 3370-01-AI015 | I/V O/A TK OIL PR 01-GVG505MP
| 3370-01-AI142 | GOV PUMP2 DISCHARGE PRESS |  |  |  | 3370-01-AI063 | GOV O/A TK AIR SPLY FLR OUT PR
| 3370-01-AI143 | GOV OIL FILTER DIFF. PRESS |  |  |  | 3370-01-AI065 | MIV O/A TK AIR FLR OUTLET PRES
| 3370-01-AI144 | MIV OIL FILTER DIFF. PRESS |  |  | PRESS3 | 3370-01-AI064 | GOV O/A TK AIR SPLY FLR IN PR
10 | 95 |  |  |  |  | 3370-01-AI064-3 | GOV SPLY FLR IN OUT PR DIFF
[6 empty] | 3370-01-AI066 | MIV O/A TK AIR FLR INLET PRESS
[6 empty] | 3370-01-AI066-5 | MIV AIR FLR IN OUT PR DIFF
[5 empty] | TEMP | 3370-01-AI057 | GOV OIL SUMP TANK OIL TEMP-1
[6 empty] | 3370-01-AI058 | GOV OIL SUMP TANK OIL TEMP-2
[6 empty] | 3370-01-AI059 | GOV OIL SUMP TANK OIL TEMP-3
[5 empty] | 4 | 18
THRBRG
MAINCWTP |  |  |  |  | Group | ObjectName | 1차 조기경보 대상여부 | 학습여부 | Threshold수정
Group | ObjectName | 1차 조기경보 대상여부 | 학습여부 | Threshold수정 | FLOW | 3370-01-AI050 | THR BRG CIRCUL OIL FLOW-1
PRESS | 3370-01-AI098 | COOL WTR AUT STRAIN-1 DIFF PR |  |  |  | 3370-01-AI051 | THR BRG CIRCUL OIL FLOW-2
| 3370-01-AI099 | COOL WTR AUT STRAIN-2 DIFF PR |  |  |  | 3370-01-AI052 | THR BRG CIRC OIL FLOW-3
| 3370-01-AI201 | MAIN COOL WTR PUMP INLET PRESS |  |  | PRESS1 | 3370-01-AI070 | THR BRG OIL INJECT PRESS-1
| 3370-01-AI202 | MAIN COOL WTR PP DISCHARGE PR |  |  |  | 3370-01-AI071 | THR BRG OIL INJECT PRESS-2
| 3370-01-EA5G5 | COOLING WATER DISCH. PRESS |  |  |  | 3370-01-AI072 | THR BRG OIL CIR PP1 DISCH PRES
| 3370-01-AI202-1 | MAIN COOLWTR PP INLET WTR TEMP |  |  |  | 3370-01-AI073 | THR BRG OIL CIR PP2 DISCH PRES
MOTER | 3370-01-CWP101-MOTOR | #1 CWP-101 MOTER |  |  |  | 3370-01-AI074 | OIL INJ PUMP(AP101)DISCH PRESS
| 3370-01-CWP101-PUMP | #1 CWP-101 PUMP |  |  |  | 3370-01-AI075 | OIL INJ PUMP(AP102)DISCH PRESS
| 3370-01-CWP102-MOTOR | #1 CWP-102 MOTER |  |  |  | 3370-01-AI076 | OIL INJ PUMP(AP103)DISCH PRESS
| 3370-01-CWP102-PUMP | #1 CWP-102 PUMP |  |  |  | 3370-01-AI146-1 | THR BRG OIL CIR FLR DIFF PRESS
2 | 10 |  |  |  |  | 3370-01-AI147 | THR BRG OIL INJ FLR DIFF PRESS
[6 empty] | 3370-01-AI157-1 | THR BRG CIR OIL SPLY PRESS
[5 empty] | TEMP | 3370-01-AI096 | THR BRG CIR PP INLET OIL TEMP
| 전체모델 수 | 34 |  |  |  | 3370-01-AI097 | THR BRG CIR CUL OIL SPLY TEMP
| 전체 태그 수 | 213 |  |  | 3 | 15

## 2호기
GEN |  |  |  |  | TRUBINE
Group | ObjectName | 1차 조기경보 대상여부 | 진행상황 | Threshold수정 | Group | ObjectName | 1차 조기경보 대상여부 | 학습여부 | Threshold수정
TEMP | 3370-02-AI086 | THRUST BEARING METAL TEMP-1 |  |  | OIL | 3370-02-AI024 | GUIDE BEARING OIL PRESS
| 3370-02-AI087 | THRUST BEARING METAL TEMP-2 |  |  |  | 3370-02-AI025 | TBN GUIDE BEARING OIL PRESS
| 3370-02-AI088 | THRUST BEARING METAL TEMP-3 |  |  |  | 3370-02-AI026 | GUIDE BEARING OIL PRESS
| 3370-02-AI090 | THRUST BEARING METAL TEMP-5 |  |  |  | 3370-02-AI027 | GUIDE BEARING OIL PRESS PUMP
| 3370-02-AI091 | CBIN JRNL&THR BRG METAL TEMP-1 |  |  |  | 3370-02-AI028 | GUIDE BEARING OIL PRESS PUMP
| 3370-02-AI092 | CBIN JRNL&THR BRG METAL TEMP-2 |  |  |  | 3370-02-AI029 | GUIDE BEARING OIL PRESS PUMP |  |  | Group | tag_count | Group | tag_count | Group | tag_count | Group | tag_count | Group | tag_count | Group | tag_count
| 3370-02-AI093 | CBIN JRNL&THR BRG METAL TEMP-3 |  |  |  | 3370-02-AI078-1 | GUIDE BRG OIL IN/OUT OIL TEMP |  |  | TEMP | 22 | OIL | 9 | PRESS1 | 7 | PRESS1 | 3 | Flow | 3 | Press | 6
| 3370-02-AI094 | CBIN JRNL&THR BRG METAL TEMP-4 |  |  |  | 3370-02-AI079 | GUIDE BRG OIL OUT/IN OIL TEMP |  |  | CORE | 21 | TEMP | 5 | PRESS2 | 3 | PRESS2 | 8 | Press | 10 | Moter | 4
| 3370-02-AI095 | CBIN JRNL&THR BRG METAL TEMP-5 |  |  |  | 3370-02-DTGATE-AI002 | #2 D/T GATE HYDRAULIC OIL TEMP. |  |  | WIND | 18 | BRG1 | 5 | TEMP | 5 | PRESS3 | 2 | Temp | 2 | 2 | 10
| 3370-02-GEN-AI039 | UPPER GUIDE PAD TEMP |  |  | TEMP | 3370-02-AI081 | GUIDE BEARING METAL TEMP-1 |  |  | FLOW | 3 | BRG2 | 3 | RING FLOW | 6 | TEMP | 3 | 3 | 15
| 3370-02-GEN-AI040 | UPPER GUIDE PAD TEMP |  |  |  | 3370-02-AI082 | GUIDE BEARING METAL TEMP-2 |  |  | AIRGAP | 5 | PRESS1 | 8 | 4 | 21 | 4 | 16
| 3370-02-GEN-AI041 | UPPER GUIDE PAD TEMP |  |  |  | 3370-02-AI083 | GUIDE BEARING METAL TEMP-3 |  |  | ROTOR | 7 | PRESS2 | 5
| 3370-02-GEN-AI042 | UPPER GUIDE PAD TEMP |  |  |  | 3370-02-AI084 | GUIDE BEARING METAL TEMP-5 |  |  | THRUST | 2 | AIR PRESS | 3
| 3370-02-GEN-AI043 | UPPER GUIDE PAD TEMP |  |  |  | 3370-02-AI085 | GUIDE BEARING METAL TEMP-6 |  |  | ACC | 6 | FLOW | 6
| 3370-02-GEN-AI044 | UPPER GUIDE PAD TEMP |  |  | BRG1 | 3370-02-HEADCOVER-ACC-H1 | #2 HEADCOVER ACC-H1 |  |  | BRG | 4 | RING TEMP | 2
| 3370-02-GEN-AI045 | UPPER GUIDE PAD TEMP |  |  |  | 3370-02-HEADCOVER-ACC-H2 | #2 HEADCOVER ACC-H2 |  |  | PRESS | 4 | GOV TEMP | 3
| 3370-02-GEN-AI046 | UPPER GUIDE PAD TEMP |  |  |  | 3370-02-HEADCOVER-ACC-V | #2 HEADCOVER ACC-V |  |  | 10 | 92 | MIV | 5
| 3370-02-GEN-AI047 | UPPER GUIDE BEARING OIL TEMP |  |  |  | 3370-02-TBN-BRG-ACC-H | #2 TBN BRG ACC-H |  |  |  |  | 11 | 54
| 3370-02-GEN-AI048 | UPPER GUIDE BEARING OIL TEMP |  |  |  | 3370-02-TBN-BRG-ACC-V | #2 TBN BRG ACC-V
| 3370-02-AI212 | UPPERGUIDE INLET COLD WTR TEMP |  |  | BRG2 | 3370-02-TBNBRG-VIB-X | #2 TBN BRG VIB-X
| 3370-02-AI213 | UPPERGUIDE OUTLET HOT WTR TEMP |  |  |  | 3370-02-TBNBRG-VIB-Y | #2 TBN BRG VIB-Y
| 3370-02-AI214 | THR BRG COOLING WTR TEMP |  |  |  | 3370-02-CAVITATION | #2 CAVITATION
CORE | 3370-02-AI210 | STATOR MAIN OUTLET WTR TEMP |  |  | PRESS1 | 3370-02-AI077 | PRESSS IN RUNNER & HEAD COVER
| 3370-02-AI211 | STATOR MAIN INLET WTR TEMP |  |  |  | 3370-02-AI078 | PRESSS IN RUNNER & HEAD COVER
| 3370-02-GEN-AI019 | STATOR CORE TEMP |  |  |  | 3370-02-AI152 | PRESSS IN RUNNER & HEAD COVER
| 3370-02-GEN-AI020 | STATOR CORE TEMP |  |  |  | 3370-02-EBB09 | PRESS RUNNER WITH WICKET GATE
| 3370-02-GEN-AI021 | STATOR CORE TEMP |  |  |  | 3370-02-AI157 | PRESS IN RUNNER & WICKETGATES
| 3370-02-GEN-AI022 | STATOR CORE TEMP |  |  |  | 3370-02-AI111 | SPIRAL CASE PRESS -1
| 3370-02-GEN-AI023 | STATOR CORE TEMP |  |  |  | 3370-02-AI112 | SPIRAL CASE PRESS -2
| 3370-02-GEN-AI024 | STATOR CORE TEMP |  |  |  | 3370-02-AI151 | SPIRAL CASE PRESSS
| 3370-02-GEN-AI026 | STATOR CORE TEMP |  |  | PRESS2 | 3370-02-EBB08 | PRESS RUNNER WITH DISCH RING
| 3370-02-GEN-AI027 | STATOR HOT AIR TEMP |  |  |  | 3370-02-AI156 | PRESS IN RUNNER & DISCH RING
| 3370-02-GEN-AI028 | STATOR HOT AIR TEMP |  |  |  | 3370-02-AI109 | PENSTOCK PRESS-1
| 3370-02-GEN-AI029 | STATOR HOT AIR TEMP |  |  |  | 3370-02-AI110 | PENSTOCK PRESS-2
| 3370-02-GEN-AI030 | STATOR HOT AIR TEMP |  |  |  | 3370-02-AI153 | PRESSS OF DRAFT TUBE
| 3370-02-GEN-AI031 | STATOR HOT AIR TEMP |  |  | AIR PRESS | 3370-02-COMP-AI001 | #2 DEWATERING AIR PR.-1
| 3370-02-GEN-AI032 | STATOR HOT AIR TEMP |  |  |  | 3370-02-COMP-AI002 | #2 DEWATERING AIR PR.-2
| 3370-02-GEN-AI033 | STATOR COLD AIR TEMP |  |  |  | 3370-02-COMP-AI003 | #2 DEWATERING AIR PR.-3
| 3370-02-GEN-AI034 | STATOR COLD AIR TEMP |  |  | FLOW | 3370-02-EA0244 | TBN WTR FLOW IN PUMP
| 3370-02-GEN-AI035 | STATOR COLD AIR TEMP |  |  |  | 3370-02-EA0245 | TBN WTR FLOW IN GEN
| 3370-02-GEN-AI036 | STATOR COLD AIR TEMP |  |  |  | 3370-02-AI209 | GOV COOLER FLOW
| 3370-02-GEN-AI037 | STATOR COLD AIR TEMP |  |  |  | 3370-02-GOV-AI006 | #2 UNIT SPEED
| 3370-02-GEN-AI038 | STATOR COLD AIR TEMP |  |  |  | 3370-02-GOV-AO001 | #2 SPIRAL CASE PRESSURE to GOV
WIND | 3370-02-GEN-AI001 | STATOR WINDING TEMP |  |  |  | 3370-02-AI207 | GUIDE BEARING COOLING WTR FLOW
| 3370-02-GEN-AI002 | STATOR WINDING TEMP |  |  | RING TEMP | 3370-02-TBN-AI058 | UPPER WEARING RING TEMP
| 3370-02-GEN-AI003 | STATOR WINDING TEMP |  |  |  | 3370-02-TBN-AI059 | LOWER WEARING RING TEMP
| 3370-02-GEN-AI004 | STATOR WINDING TEMP |  |  | GOV TEMP | 3370-02-AI216 | GOV COOLER WATER TEMP
| 3370-02-GEN-AI005 | STATOR WINDING TEMP |  |  |  | 3370-02-AI217 | GOV COOLER OUTLET TEMP
| 3370-02-GEN-AI006 | STATOR WINDING TEMP |  |  |  | 3370-02-AI215 | GUIDE COOLING WTR TEMP
| 3370-02-GEN-AI007 | STATOR WINDING TEMP |  |  | MIV | 3370-02-AI105 | MI/V UPSTREAM SEAL PRESS
| 3370-02-GEN-AI008 | STATOR WINDING TEMP |  |  |  | 3370-02-AI106 | MI/V UPSTREAM SEAL PRESS
| 3370-02-GEN-AI009 | STATOR WINDING TEMP |  |  |  | 3370-02-AI107 | MI/V DOWNSTREAM SEAL PRESS
| 3370-02-GEN-AI010 | STATOR WINDING TEMP |  |  |  | 3370-02-AI108 | MI/V DOWNSTREAM SEAL PRESS
| 3370-02-GEN-AI011 | STATOR WINDING TEMP |  |  |  | 3370-02-AI146 | MIV D.STREAM SEAL FLR DIF PRES
| 3370-02-GEN-AI012 | STATOR WINDING TEMP |  |  | 11 | 54
| 3370-02-GEN-AI013 | STATOR WINDING TEMP
| 3370-02-GEN-AI014 | STATOR WINDING TEMP |  |  | SHAFT SEAL
| 3370-02-GEN-AI015 | STATOR WINDING TEMP |  |  | Group | ObjectName | 1차 조기경보 대상여부 | 학습여부 | Threshold수정
| 3370-02-GEN-AI016 | STATOR WINDING TEMP |  |  | PRESS1 | 3370-02-AI030 | INFLATAB MAINTAIN SEAL PRESS-1
| 3370-02-GEN-AI017 | STATOR WINDING TEMP |  |  |  | 3370-02-AI031 | INFLATAB MAINTAIN SEAL PRESS-2
| 3370-02-GEN-AI018 | STATOR WINDING TEMP |  |  |  | 3370-02-AI035 | TURBINE SHAFT SEAL PRESS -1
FLOW | 3370-02-AI205 | GEN AIR COOLER COOL WTR FLOW |  |  |  | 3370-02-AI036 | TURBINE SHAFT SEAL PRESS -2
| 3370-02-AI206 | UPPERGUIDE BEARING COOLER FLOW |  |  |  | 3370-02-AI037 | TURBINE SHAFT SEAL PRESS -3
| 3370-02-AI208 | L.GUIDE & T.BRG COOL WTR FLOW |  |  |  | 3370-02-AI145 | TURBINE SHAFT SEAL WATER FLOW
AIRGAP | 3370-02-AIRGAP-A | #2 AIRGAP A |  |  |  | 3370-02-PT-SHAFTSEAL-LCP-AI01 | #2 P/T SHAFT-S WTR SPLY PP INLET PR.
| 3370-02-AIRGAP-C | #2 AIRGAP C |  |  | PRESS2 | 3370-02-AI067 | SHAFT SEAL PUMP DISCH PRESS
| 3370-02-AIRGAP-E | #2 AIRGAP E |  |  |  | 3370-02-AI067-2 | #2 P/T SHAFT-S FLR OUTLET PR.
| 3370-02-AIRGAP-F | #2 AIRGAP F |  |  |  | 3370-02-AI056 | SHAFT SEAL FILTER PRESS
| 3370-02-AIRGAP-G | #2 AIRGAP G |  |  | TEMP | 3370-02-AI060 | TURBINE SHAFT SEAL. TEMP-1
ROTOR | 3370-02-EAB72 | ROTOR TEMP |  |  |  | 3370-02-AI060-1 | SHAFT SEAL TEMP DIFF
| 3370-02-GEN-AI049 | EXCIT ROTOR TEMP |  |  |  | 3370-02-AI061 | TURBINE SHAFT SEAL. TEMP-2
| 3370-02-EAB73 | POWER FACTOR ACTUAL VALUE |  |  |  | 3370-02-AI061-1 | #2 P/T SHAFT-S WTR TEMP.
| 3370-02-GEN-AI050 | EXCIT POWER FACTOR |  |  |  | 3370-02-AI062 | TURBINE SHAFT SEAL. TEMP-3
| 3370-02-GEN-AI051 | EXCIT TRANSFORMER TEMP-T501 |  |  | RING FLOW | 3370-02-AI041 | UPPER WEARING RING WTR FLOW-1
| 3370-02-GEN-AI052 | EXCIT TRANSFORMER TEMP-T502 |  |  |  | 3370-02-AI042 | UPPER WEARING RING WTR FLOW-2
| 3370-02-GEN-AI053 | EXCIT TRANSFORMER TEMP-T503 |  |  |  | 3370-02-AI043 | UPPER WEARING RING WTR FLOW-3
THRUST | 3370-02-THRUST-A | #2 THRUST A |  |  |  | 3370-02-AI044 | LOWER WEARING RING WTR FLOW-1
| 3370-02-THRUST-B | #2 THRUST B |  |  |  | 3370-02-AI045 | LOWER WEARING RING WTR FLOW-2
ACC | 3370-02-THRUST-BRG-ACC-H1 | #2 THRUST BRG ACC-H1 |  |  |  | 3370-02-AI046 | LOWER WEARING RING WTR FLOW-3
| 3370-02-THRUST-BRG-ACC-H2 | #2 THRUST BRG ACC-H2 |  |  | 4 | 21
| 3370-02-THRUST-BRG-ACC-V | #2 THRUST BRG ACC-V
| 3370-02-UPGENBRG-ACC-H | #2 UP GEN BRG ACC-H |  |  | GOVMIV
| 3370-02-UPGENBRG-ACC-V | #2 UP GEN BRG ACC-V |  |  | Group | ObjectName | 1차 조기경보 대상여부 | 학습여부 | Threshold수정
| 3370-02-KEYPHASOR | #2 KEYPHASOR |  |  | PRESS1 | 3370-02-AI001 | MAIN OIL CIRCUIT PRESS-1
BRG | 3370-02-THRUSTBRG-VIB-X | #2 THRUST BRG VIB-X |  |  |  | 3370-02-AI002 | MAIN OIL CIRCUIT PRESS-2
| 3370-02-THRUSTBRG-VIB-Y | #2 THRUST BRG VIB-Y |  |  |  | 3370-02-AI003 | MAIN OIL CIRCUIT PRESS-3
| 3370-02-UPGENBRG-VIB-X | #2 UPPER GEN BRG VIB-X |  |  | PRESS2 | 3370-02-AI007 | GOV O/A PRESS TANK OIL PRESS-1
| 3370-02-UPGENBRG-VIB-Y | #1 UPPER GEN BRG VIB-Y |  |  |  | 3370-02-AI008 | GOV O/A PRESS TANK OIL PRESS-2
PRESS | 3370-02-AI141 | GOV PUMP1 DISCHARGE PRESS |  |  |  | 3370-02-AI009 | GOV O/A PRESS TANK OIL PRESS-3
| 3370-02-AI142 | GOV PUMP2 DISCHARGE PRESS |  |  |  | 3370-02-AI013 | MIV O/A PRESS TANK OIL PRESS-1
| 3370-02-AI143 | GOV OIL FILTER DIFF. PRESS |  |  |  | 3370-02-AI014 | MIV O/A PRESS TANK OIL PRESS-2
| 3370-02-AI144 | MIV OIL FILTER DIFF. PRESS |  |  |  | 3370-02-AI015 | MIV O/A PRESS TANK OIL PRESS-3
10 | 92 |  |  |  |  | 3370-02-AI063 | GOV O/A TK AIR SPLY FLR OUT PR
| 1호기와 차이점 |  |  |  |  | 3370-02-AI065 | MIV O/A TK AIR FLR OUTLET PRES
| TEMP, CORE, WIND에서 1개씩 값이 없는 데이터가 존재해서 사라짐 |  |  |  | PRESS3 | 3370-02-AI064 | GOV O/A TK AIR SPLY FLR IN PR
[6 empty] | 3370-02-AI066 | MIV O/A TK AIR FLR INLET PRESS
[6 empty] | 3370-02-AI064-3 | PRESS DIFF지만 이름 변경되어 있음
[6 empty] | 3370-02-AI066-5 | PRESS DIFF지만 이름 변경되어 있음
[5 empty] | TEMP | 3370-02-AI057 | GOV OIL SUMP TANK OIL TEMP-1
[6 empty] | 3370-02-AI058 | GOV OIL SUMP TANK OIL TEMP-2
[6 empty] | 3370-02-AI059 | GOV OIL SUMP TANK OIL TEMP-3
[5 empty] | 4 | 18
OIL
[5 empty] | Group | ObjectName | 1차 조기경보 대상여부 | 학습여부 | Threshold수정
COOL WTR |  |  |  |  | FLOW | 3370-02-AI050 | THR BRG CIRCUL OIL FLOW-1
Group | ObjectName | 1차 조기경보 대상여부 | 진행상황 | Threshold수정 |  | 3370-02-AI051 | THR BRG CIRCUL OIL FLOW-2
PRESS | 3370-02-AI098 | COOL WTR AUT STRAIN-1 DIFF PR |  |  |  | 3370-02-AI052 | THR BRG CIRC OIL FLOW-3
| 3370-02-AI099 | COOL WTR AUT STRAIN-2 DIFF PR |  |  | PRESS1 | 3370-02-AI070 | THR BRG OIL INJECT PRESS-1
| 3370-02-AI201 | MAIN COOL WTR PUMP INLET PRESS |  |  |  | 3370-02-AI071 | THR BRG OIL INJECT PRESS-2
| 3370-02-AI202 | MAIN COOL WTR PP DISCHARGE PR |  |  |  | 3370-02-AI072 | THR BRG OIL CIR PP1 DISCH PRES
| 3370-02-EA5G5 | COOLING WATER DISCH. PRESS |  |  |  | 3370-02-AI073 | THR BRG OIL CIR PP2 DISCH PRES
| 3370-02-AI202-1 | MAIN COOLWTR PP INLET WTR TEMP |  |  |  | 3370-02-AI074 | OIL INJ PUMP(AP101)DISCH PRESS
MOTER | 3370-02-CWP201-MOTOR | #2 CWP-201 MOTER |  |  |  | 3370-02-AI075 | OIL INJ PUMP(AP102)DISCH PRESS
| 3370-02-CWP201-PUMP | #2 CWP-201 PUMP |  |  |  | 3370-02-AI076 | OIL INJ PUMP(AP103)DISCH PRESS
| 3370-02-CWP202-MOTOR-P | #2 CWP-202 MOTER |  |  |  | 3370-02-AI146-1 | THR BRG OIL CIR FLR DIFF PRESS
| 3370-02-CWP202-PUMP | #2 CWP-202 PUMP |  |  |  | 3370-02-AI147 | THR BRG OIL INJ FLR DIFF PRESS
2 | 10 |  |  |  |  | 3370-02-AI157-1 | THR BRG CIR OIL SPLY PRESS
[5 empty] | TEMP | 3370-02-AI096 | THR BRG CIR PP INLET OIL TEMP
| 전체모델 수 | 34 |  |  |  | 3370-02-AI097 | THR BRG CIR CUL OIL SPLY TEMP
| 전체 태그 수 | 210 |  |  | 3 | 15

## common
COMP |  |  |  |  | CWTR
Group | ObjectName | 1차 조기경보 대상여부 | 진행상황 | Threshold수정 | Group | ObjectName | 1차 조기경보 대상여부 | 진행상황 | Threshold수정
COMP | 3370-20-COMP-A-LCP-AI001 | AIR COMP.-A DISCH. PR. |  |  | CWTR | 3370-20-AI014 | U1,2 COOLWTR INLET PRESS CP083
| 3370-20-COMP-B-LCP-AI001 | AIR COMP.-B DISCH. PR. |  |  |  | 3370-20-AI015 | COM. WTR SPLY PUMP DISCH PRESS
| 3370-20-COMP-C-LCP-AI001 | AIR COMP.-C DISCH. PR. |  |  |  | 3370-22-AI101 | COM C-WTR FLR AT051 DIFF PRESS
| 3370-20-E2F21 | AIR COMPRESSOR-1 DISCH PRESS |  |  |  | 3370-22-AI102 | COM C-WTR FLR AT052 DIFF PRESS
| 3370-20-E2F25 | AIR COMPRESSOR-2 DISCH PRESS |  |  |  | 3370-22-AI103 | MTR C-WTR FLR AT081 DIF PRESS
| 3370-20-E2F29 | AIR COMPRESSOR-3 DISCH PRESS |  |  |  | 3370-22-AI104 | MTR C-WTR FLR AT082 DIF PRESS |  |  | Group | tag_count
| 3370-20-COMP-A-LCP-AI002 | AIR COMP.-A DISCH. TEMP. |  |  | 1 | 6 |  |  |  | COMP | 18
| 3370-20-COMP-B-LCP-AI002 | AIR COMP.-B DISCH. TEMP. | [7 empty] | CWTR | 6
| 3370-20-COMP-C-LCP-AI002 | AIR COMP.-C DISCH. TEMP. | [7 empty] | DRAIN | 6
| 3370-20-E2F22 | AIR COMPRESSOR-1 DISCH TEMP | [7 empty] | 3 | 30
| 3370-20-E2F26 | AIR COMPRESSOR-2 DISCH TEMP |  |  | DRAIN
| 3370-20-E2F30 | AIR COMPRESSOR-3 DISCH TEMP |  |  | Group | ObjectName | 1차 조기경보 대상여부 | 진행상황 | Threshold수정
| 3370-20-COMP-A-LCP-AI003 | AIR COMP.-A LUBE OIL PR. |  |  | DRAIN | 3370-20-AI004 | DRAINAGE PP AP101 OUTLET PRESS
| 3370-20-COMP-B-LCP-AI003 | AIR COMP.-B LUBE OIL PR. |  |  |  | 3370-20-AI005 | DRAINAGE PP AP102 OUTLET PRESS
| 3370-20-COMP-C-LCP-AI003 | AIR COMP.-C LUBE OIL PR. |  |  |  | 3370-20-AI006 | DRAINAGE PP AP201 OUTLET PRESS
| 3370-20-E2F23 | AIR COMPRESSOR1 C.W OUTLT TEMP |  |  |  | 3370-20-AI007 | DRAINAGE PP AP202 OUTLET PRESS
| 3370-20-E2F27 | AIR COMPRESSOR2 C.W OUTLT TEMP |  |  |  | 3370-20-AI-DRNPIT-DISCH-FLOW2 | SUBM. WTR DRN. PP DISCH. FLOW
| 3370-20-E2F31 | AIR COMPRESSOR3 C.W OUTLT TEMP |  |  |  | 3370-20-DRAIN-AI003 | EMERGENCY SUBM. PP OUTLET PR.
1 | 18 |  |  |  | 1 | 6
| 전체모델 수 | 3
| 전체 태그 수 | 30